| Tag No. «Name» - «Description» |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Subsystem: «ProcessBreakdownIdentifier» - «ProcessBreakdownName» |  |  |  |  |  |  |  |  |  |  |  |
| Manufacturer. |  |  | «ManufacturerName» |  |  |  | Model No. |  | «OEMPartNumber» |  |  |
| Field to record Serial No. |  |  | «SerialNumber» |  |  |  |  |  |  |  |  |
| Drawing No. |  |  | «DocumentList» |  |  |  | Task No. |  | «TaskName» |  |  |
| Additional Information: |  |  | «Comments» |  |  |  |  |  |  |  |  |
| Item | Description |  |  |  |  |  |  | OK |  | N/A | Punch |
|  | Confirm correct fibre count as per design |  |  |  |  |  |  |  |  |  |  |
|  | Confirm labelling is as per design |  |  |  |  |  |  |  |  |  |  |
|  | Confirm FOSE location numbering is as per design |  |  |  |  |  |  |  |  |  |  |
|  | Confirm FOSE Location and orientation is correct |  |  |  |  |  |  |  |  |  |  |
|  | Confirm cable bending radius has not been exceeded |  |  |  |  |  |  |  |  |  |  |
|  | Confirm cable/s have been installed into FOSE as per manufactures instructions |  |  |  |  |  |  |  |  |  |  |
|  | Confirm Fibre Free of Grease and Clean |  |  |  |  |  |  |  |  |  |  |
|  | Confirm Fibre Trays Correctly Locked Down within FOSE |  |  |  |  |  |  |  |  |  |  |
|  | Confirm Fibres are Housed Correctly in Splice Tray |  |  |  |  |  |  |  |  |  |  |
|  | Correct splice protectors fitted and free from macro bends |  |  |  |  |  |  |  |  |  |  |
|  | Confirm splice loss to customer specification |  |  |  |  |  |  |  |  |  |  |
|  | Any high splice losses are recorded and approved by Engineer or their appointed person |  |  |  |  |  |  |  |  |  |  |
|  | Confirm cable racked / secured – stored cable length to customer specifications |  |  |  |  |  |  |  |  |  |  |
|  | Cable identification tags are fitted |  |  |  |  |  |  |  |  |  |  |
|  | Confirm pits & manholes cover closed |  |  |  |  |  |  |  |  |  |  |
|  | Confirm work area left clean and tidy |  |  |  |  |  |  |  |  |  |  |
|  | Confirm amended plans marked up for return to the engineer |  |  |  |  |  |  |  |  |  |  |
| COMPLETIONS & CLIENT ACCEPTANCE REQUIREMENTS – CONTRACTOR CHECK LIST |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Item |  | Initial | N/A | Comments |  |  |  |  |  |
| 1 |  | All site modifications correctly marked up on master drawings as per project procedures. |  |  |  |  |  |  |  |  |  |
| 2 |  | This form must be completed by an AMCA Registered Cabler. |  |  |  |  |  |  |  |  |  |

| COMMENTS, OBSERVATIONS & ATTACHMENTS (Complete a Punch List Form and attach if any of the checks above marked as “Punch”) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| COMPLETED |  |  |  |  |  |
| I hereby confirm the work has been completed in accordance with Contract specified drawings, specifications & standards. |  |  |  |  |  |
| PERFORMED BY CONTRACTOR: |  | REVIEW BY SUPERVISOR/LEAD ENGINEER: |  | EPCM ACCEPTED BY: |  |
| Signature: |  | Signature: |  | Signature: |  |
| Name: |  | Name: |  | Name: |  |
| Registration No: |  | Title: |  | Title: |  |
| Date: |  | Date: |  | Date: |  |